Using ais_z3.m to measure AIS location, length, and fluorescence intensity

- First, save the ais_z3.m file in your usual location for Matlab scripts and make sure Matlab knows where to find it (use the 'addpath' function if necessary)

- Prepare your image files

    - ais_z3.m works only on 2D images, so either work with single z-plane acquisitions, or create z-projection images from an image stack (your acqisition software should be able to do this, or use ImageJ)

    - save/export your 2D image as a single RGB .tif file (again, if your acquisition software can't export tifs, ImageJ can), with each channel in the .tif file (R/G/B) representing signal from a separate fluorophore (e.g. R = Alexa 568, G = GFP, B = Alexa 633).

        - IMPORTANT: because the programme takes in an RGB image, channel1 in the programme will be R, channel2 will be G, and channel3 will be B.

    - our Zeiss Zen software automatically saves z-projected images with a '_Maximumintensityprojection.tif' extension, so the code is currently set up to deal with files like this (see line 48, which you can alter to suit your particular files)

e.g.	'c:\grubby\matlab\ais\cell1_Maximumintensityprojection.tiff'

- Open Matlab, open ais_z3.m in the Editor window, and set your options in the 'options' section.  Here you need to set:

- the number of colour channels ('nCh')

- the names for each channel ('labels').  This is just for clarity when plotting, e.g. {'ankG' 'bspec'}.

- the colours associated with each channel ('colours').  Again, this is just for plotting clarity, e.g. ['r' 'g'] with the labels above will plot ankG in red and bspec in green

- whether or not you want to pick AIS start & end positions by eye ('byeye'), and if so which channel(s) to do this for ('eye' – this is an array containing all the channels you want to plot by eye, so e.g. [1 2 3] for all three, or [1 3] for just channels 1&3, etc.)

- the channel used to draw a profile along the axon ('draw')

- the channel(s) used for quantitative measurements of AIS location and length ('prof'; this is an array like 'eye')

- the size of each pixel in your image ('pixconv'), in um.

- the fraction 'f' used to delimit AIS start and end positions.  At its default value of 0.33 (Grubb & Burrone 2010 Nature 465:1070), this takes the AIS start and end positions where fluorescence intensity falls to 33% of its maximum value.

- Run the programme.  ais_z3.m takes in a maximum of 2 inputs: 'cell' and 'chosen'.  'Cell' is the full location of the tif file(s) to be analysed, minus any extension, e.g. 'c:\grubby\matlab\ais\cell1'.  To run the programme on a cell for the first time, or whenever you want to draw an axonal profile, use only the cell input:

e.g.	>> ais('c:\grubby\matlab\ais\cell1')

You will then be required to draw a line profle along the axon using the instructions in the programme and the options you've already set.

But if you've already drawn the axonal profile for this neuron and don't want to do it again, the programme will have made text files of the profile's co-ordinates (called cell_xy_pix.txt and cell_xy_spline) in the home folder of the cell image, and you can use these by including any number (usually a '1') in the 'chosen' input:

e.g.	>> ais('c:\grubby\matlab\ais\cell1',1)

- Finally, use the output.  In Figure 3...

- ...ais_z3.m reproduces the image from each channel, and displays the superimposed axon profile, both smooth (yellow) and in pixels (magenta)

- ...plots the raw pixel fluorescence intensity for each channel vs distance along the axon (lower left, 'F Raw 1x1')

- ...plots axon distance vs mean fluorescence values for a 3x3 pixel square centred on each pixel (lower middle, 'F Raw 3x3 Sub').  These traces are background-subtracted based on fluorescence intensity at the end of the axon profile, and are used for measures of fluorescence intensity:

    - the 'MaxF' measure gives the maximum 3x3 sub value for each channel within the confines of the AIS (see below – these are marked by vertical dotted lines). MaxF is marked for each channel with a filled circle.

    - the 'Int F' measure gives the area below the 3x3 sub profile within the confines of the AIS, i.e. the integrated fluorescence intensity.

- ...plots smoothed & normalised (lowe right) fluorescence intensities along the axon for the channels you've chosen to analyse.  Solid vertical lines show AIS start & end positions, and dotted vertical lines show AIS max positions for each channel.

The programme also lists all of the measured parameters in the main Matlab window, preceded by a list of headings explaining each output value.  The 'mid' measure is simply the halfway point between the start & end positions.  Values showing 'NaN' (not-a-number) were not measured in this run of the programme, so if you want these measurements, make sure your options are set correctly.  The output values can then be cut&pasted into any spreadsheet programme for further analysis.